## Assemblies
Code | Name | Resi / Comm / Both | Category | What's in it | Tests that name it | Smoke steps that name it | Seed files that name it | Other code that names it | Used on STAGING | Used on LIVE | Search caveat | Keep / Cut | Notes
DV1 | Duplex receptacle standard | Both | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 15A duplex receptacle; 1 1-gang wall plate, duplex, nylon; 25 12/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | assemblies.test.ts, bidExtras.test.ts, bids.test.ts, expenseFlags.test.ts, kits.test.ts, materialsList.test.ts, planRemovalImpact.test.ts, salesTaxBids.test.ts, starterAssembliesSeed.test.ts, stepLabor.test.ts, assemblySearch.test.ts, laborHourDefaults.test.ts, legendRead.test.ts, testLeakGuard.test.ts, sheetCarryOver.test.ts, starterCoverRepair.test.ts, starterCoverSwaps.test.ts | flow.spec.ts, touch.spec.ts | baselineKits.ts, starterLaborSteps.ts, starterCoverSwaps.ts | materialLookup.ts, sampleProject.ts, QuickBidPage.tsx | 371 bids: 491 bid lines, 2 kit lines, 1 symbol links, 499 counts, 1876 marks | 2 kit lines
DV2 | GFCI receptacle | Both | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 15A GFCI receptacle; 1 1-gang wall plate, decorator, nylon; 25 12/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | aliasSuggestions.test.ts, existingToRemain.test.ts, kits.test.ts, laborImport.test.ts, laborImportApply.test.ts, materialOrder.test.ts, materialSearchRank.test.ts, starterAssembliesSeed.test.ts, symbolLooks.test.ts, takeoffStamps.test.ts, assemblyHoursSuggestion.test.ts, assemblySearch.test.ts, deviceFamily.test.ts, laborHourDefaults.test.ts, legendRead.test.ts, lookMatching.test.ts, pinLetters.test.ts, smartSearch.test.ts, readerAccuracyAnswerKey.test.ts, readerAccuracyReport.test.ts, sheetCarryOver.test.ts, starterCoverRepair.test.ts, starterCoverSwaps.test.ts |  | baselineKits.ts, devices.ts, starterLaborSteps.ts, starterCoverSwaps.ts | catalogRealityCheck20261009.ts, materialCommonness.ts, materialOrder.ts, materialSearchRank.ts, pinLetters.ts, sampleProject.ts, smartSearch.ts, AssembliesLibraryPage.tsx, codeFirstCeiling.mts, findMatchingCheck.mts, lineCrossingCheck.mts, readerAccuracyAnswerKey.ts, readerTestExisting.mts, scanMatchingCheck.mts, movedFromSheet.ts | 1 kit lines | 1 kit lines
DV3 | Dedicated 20A receptacle | Both | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 15A duplex receptacle; 1 1-gang wall plate, duplex, nylon; 35 12/2 NM-B Copper; 1 20A 1-Pole breaker; 3 Wire nut, 22-8 AWG (tan/red) | starterAssembliesSeed.test.ts, sheetCarryOver.test.ts |  | starterLaborSteps.ts, starterCoverSwaps.ts | sampleProject.ts
DV4 | Single-pole switch | Both | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 15A single-pole switch; 1 1-gang wall plate, toggle, nylon; 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | aliasSuggestions.test.ts, assemblies.test.ts, bids.test.ts, kits.test.ts, laborImport.test.ts, materialOrder.test.ts, starterAssembliesSeed.test.ts, laborHourDefaults.test.ts, legendRead.test.ts, smartSearch.test.ts, starterCoverRepair.test.ts, starterCoverSwaps.test.ts |  | baselineKits.ts, devices.ts, starterLaborSteps.ts, starterCoverSwaps.ts | catalogRealityCheck20261009.ts, materialCommonness.ts, materialSearchRank.ts, sampleProject.ts, legendRead.ts | 1 bid: 3 kit lines, 1 counts | 3 kit lines
DV5 | Dimmer switch | Both | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 Dimmer; 1 1-gang wall plate, decorator, nylon; 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | laborImport.test.ts, materialOrder.test.ts, starterAssembliesSeed.test.ts, legendRead.test.ts, sheetCarryOver.test.ts, starterCoverSwaps.test.ts |  | baselineKits.ts, starterLaborSteps.ts, starterCoverSwaps.ts | sampleProject.ts | 1 kit lines | 1 kit lines
LT1 | Surface-mount ceiling fixture | Both | Lighting | 1 4" square box, 1-1/2" deep; 1 Fixture mounting bracket; 1 Surface-mount ceiling fixture (fixture); 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | starterAssembliesSeed.test.ts, starterFixtureRepair.test.ts |  | baselineKits.ts, lighting.ts, starterLaborSteps.ts, starterParts.ts | starterFixtureRepair.ts, sampleProject.ts, movedFromSheet.ts | 1 bid: 1 bid lines, 2 kit lines, 2 plan-reader findings, 1 symbol links, 1 counts | 1 bid: 2 kit lines, 1 counts, 21 marks | Name is also a catalog material: code hits may be the material
LT2 | Ceiling fan standard | Residential | Lighting | 1 Fan-rated ceiling box, 2-1/4" deep; 1 Ceiling fan (fixture); 20 14/2 NM-B Copper; 4 Wire nut, 22-8 AWG (tan/red) | assemblies.test.ts, bids.test.ts, starterAssembliesSeed.test.ts, starterFixtureRepair.test.ts |  | baselineKits.ts, starterLaborSteps.ts | modifierLookup.ts, starterFixtureRepair.ts | 1 kit lines | 1 kit lines
PG1 | 200A main panel furnish and install | Both | Panels | 1 200A main-breaker panel, 40-space, indoor; 10 20A 1-Pole breaker; 2 20A 2-Pole breaker; 40 #8 THHN Copper; 6 Wire nut, 22-8 AWG (tan/red) | materialsCatalog.test.ts, starterAssembliesSeed.test.ts, laborHourDefaults.test.ts, starterRetiredRepair.test.ts |  | starterParts.ts | sampleProject.ts |  | 1 bid: 1 counts, 1 marks
DV6 | Duplex receptacle retrofit | Both | Devices | 1 Single-gang old work box, plastic, 20 cu in; 1 15A duplex receptacle; 1 1-gang wall plate, duplex, nylon; 25 12/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | laborHourDefaults.test.ts |  | starterCoverSwaps.ts
DV7 | 20A duplex receptacle | Both | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 20A duplex receptacle; 1 1-gang wall plate, duplex, nylon; 25 12/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | materialDuplicates.test.ts, starterGapAssemblies.test.ts |  | devices.ts, starterParts.ts, starterCoverSwaps.ts | materialCommonness.ts, MaterialsLibraryPage.tsx, movedFromSheet.ts |  |  | Name is also a catalog material: code hits may be the material
DV8 | Outdoor GFCI receptacle, in-use cover | Residential | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 Siding mounting block; 1 15A GFCI receptacle, weather-resistant; 1 Weatherproof in-use cover; 25 12/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
DV9 | AFCI receptacle | Both | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 AFCI receptacle; 1 1-gang wall plate, decorator, nylon; 25 12/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | sheetCarryOver.test.ts |  | devices.ts, starterParts.ts, starterCoverSwaps.ts | movedFromSheet.ts |  |  | Name is also a catalog material: code hits may be the material
DV10 | USB combo receptacle | Residential | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 USB combo receptacle; 1 1-gang wall plate, decorator, nylon; 25 12/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) |  |  | devices.ts, starterParts.ts, starterCoverSwaps.ts | materialCommonness.ts, movedFromSheet.ts |  |  | Name is also a catalog material: code hits may be the material
DV11 | Quad receptacle | Both | Devices | 1 Double-gang new work box, plastic, 32 cu in; 1 15A quad receptacle; 1 2-gang wall plate, duplex/duplex, nylon; 25 12/2 NM-B Copper; 4 Wire nut, 22-8 AWG (tan/red) |  |  | devices.ts, starterCoverSwaps.ts | catalogRealityCheck20261009.ts, movedFromSheet.ts
DV12 | Switch/receptacle combo | Residential | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 Switch/receptacle combo device; 1 1-gang wall plate, duplex, nylon; 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DV13 | 3-way switch | Both | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 15A 3-way switch; 1 1-gang wall plate, toggle, nylon; 20 14/3 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | materialOrder.test.ts, materialSearchRank.test.ts, searchCounts.test.ts, deviceFamily.test.ts, laborHourDefaults.test.ts, pinLetters.test.ts, smartSearch.test.ts |  | devices.ts, starterLaborSteps.ts, starterCoverSwaps.ts | catalogRealityCheck20261009.ts, laborHourDefaults.ts, materialCommonness.ts, materialOrder.ts, pinLetters.ts, searchCounts.ts, smartSearch.ts
DV14 | 4-way switch | Both | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 15A 4-way switch; 1 1-gang wall plate, toggle, nylon; 20 14/3 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) |  |  | devices.ts, starterCoverSwaps.ts | catalogRealityCheck20261009.ts, laborHourDefaults.ts, materialCommonness.ts, smartSearch.ts
DV15 | 3-way dimmer | Both | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 3-way dimmer; 1 1-gang wall plate, decorator, nylon; 20 14/3 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) |  |  | devices.ts, starterParts.ts, starterCoverSwaps.ts | materialSearchRank.ts, buildPricingSheet.mts |  |  | Name is also a catalog material: code hits may be the material
DV16 | Two switches, one box | Both | Devices | 1 Double-gang new work box, plastic, 32 cu in; 2 15A single-pole switch; 1 2-gang wall plate, toggle/toggle, nylon; 40 14/2 NM-B Copper; 5 Wire nut, 22-8 AWG (tan/red) | starterCoverSwaps.test.ts |  | starterCoverSwaps.ts
DV17 | Three switches, one box | Both | Devices | 1 Triple-gang new work box, plastic, 46 cu in; 3 15A single-pole switch; 1 3-gang wall plate, toggle/toggle/toggle, nylon; 60 14/2 NM-B Copper; 7 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DV18 | Fan/light combo control | Residential | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 Combination fan/light control; 1 1-gang wall plate, decorator, nylon; 20 14/3 NM-B Copper; 4 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DV19 | Timer / smart / vacancy switch | Residential | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 Timer switch; 1 1-gang wall plate, decorator, nylon; 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DV20 | Duplex receptacle, MC | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 20A duplex receptacle; 1 1-gang wall plate, duplex, nylon; 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts, starterCoverSwaps.ts
DV21 | GFCI receptacle, MC | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 20A GFCI receptacle; 1 1-gang wall plate, decorator, nylon; 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts, starterCoverSwaps.ts
DV22 | Quad receptacle, MC | Commercial | Devices | 1 4-11/16" square box, 2-1/8" deep; 1 4-11/16" square mud ring, 2-gang; 2 20A duplex receptacle; 1 2-gang wall plate, duplex/duplex, nylon; 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 2 Grounding pigtail; 4 Wire nut, 22-8 AWG (tan/red) | starterCoverSwaps.test.ts |  | starterCoverSwaps.ts
DV23 | Dedicated 20A receptacle, MC | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 20A duplex receptacle; 1 1-gang wall plate, duplex, nylon; 40 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 1 20A 1-Pole breaker; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DV24 | Isolated-ground receptacle (cash wrap) | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 Isolated-ground receptacle; 1 1-gang wall plate, duplex, nylon; 50 12/2 MC cable isolated ground Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 20A 1-Pole breaker; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DV25 | Controlled receptacle (plug load) | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 Controlled duplex receptacle; 1 1-gang wall plate, duplex, nylon; 25 12/3 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 4 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DV26 | Single-pole switch, MC | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 20A single-pole switch; 1 1-gang wall plate, toggle, nylon; 20 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts, starterCoverSwaps.ts
DV27 | 3-way switch, MC | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 20A 3-way switch; 1 1-gang wall plate, toggle, nylon; 20 12/3 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DV28 | Key switch, MC | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 Key switch; 1 1-gang wall plate, toggle, nylon; 20 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DV29 | Wall occupancy sensor, MC | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 Dual-tech occupancy sensor switch; 1 1-gang wall plate, decorator, nylon; 20 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts, starterCoverSwaps.ts
DV30 | Ceiling occupancy sensor + power pack | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, fixture; 1 Ceiling occupancy sensor, dual-tech; 1 Sensor power pack, 120/277V; 25 18/3 control wire Copper; 10 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 T-bar box hanger; 4 Wire nut, 22-8 AWG (tan/red)
DV31 | 0-10V dimmer, MC | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 0-10V dimmer; 1 1-gang wall plate, decorator, nylon; 20 12/2 MC cable Copper; 25 18/2 control wire Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 4 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts |  | 3 bids: 3 bid lines, 3 kit lines
DV32 | Floor receptacle, poke-through | Commercial | Devices | 1 Poke-through device, 2-service; 1 20A duplex receptacle; 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 3 Wire nut, 22-8 AWG (tan/red)
DV33 | Floor box receptacle (slab) | Commercial | Devices | 1 Floor box, 1-gang, adjustable, nonmetallic; 1 Floor box cover, duplex; 1 20A duplex receptacle; 3 Wire nut, 22-8 AWG (tan/red) | starterRetiredRepair.test.ts
DV34 | Surface raceway receptacle (block wall) | Commercial | Devices | 1 Surface raceway device box, 500/700 series; 1 20A duplex receptacle; 1 Surface raceway device plate, 700 series; 1 Surface raceway entrance end fitting, 700 series; 3 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts, starterRetiredRepair.test.ts, starterSheetLayout.test.ts |  |  | stagingStartersCheck.mts
LT3 | Ceiling fan, retrofit brace | Residential | Lighting | 1 Ceiling fan brace box, 1-1/2" deep; 1 Ceiling fan (fixture); 20 14/3 NM-B Copper; 4 Wire nut, 22-8 AWG (tan/red) | starterAssembliesSeed.test.ts
LT4 | Recessed can new construction, 6" | Both | Lighting | 1 6" recessed can, new construction IC (fixture); 1 6" LED retrofit trim; 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  | lighting.ts | stagingStartersCheck.mts
LT5 | Recessed can new construction, 4" | Both | Lighting | 1 4" recessed can, new construction IC (fixture); 1 4" LED retrofit trim; 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  |  | stagingStartersCheck.mts
LT6 | Recessed can retrofit, 6" | Both | Lighting | 1 6" recessed can, remodel IC (fixture); 1 6" LED retrofit trim; 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  |  | stagingStartersCheck.mts
LT7 | Wafer LED downlight, 6" (canless) | Both | Lighting | 1 6" canless wafer LED downlight (fixture); 20 14/2 NM-B Copper; 2 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  | starterLaborSteps.ts | materialRenameProposals.ts, stagingStartersCheck.mts
LT8 | Wafer LED downlight, 4" (canless) | Both | Lighting | 1 4" canless wafer LED downlight (fixture); 20 14/2 NM-B Copper; 2 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  | starterLaborSteps.ts | stagingStartersCheck.mts
LT31 | Wafer LED downlight, 2" (canless) | Both | Lighting | 1 2" canless wafer LED downlight (fixture); 20 14/2 NM-B Copper; 2 Wire nut, 22-8 AWG (tan/red) | catalogReview20261008.test.ts |  |  | stagingStartersCheck.mts
LT32 | Wafer LED downlight, 8" (canless) | Both | Lighting | 1 8" canless wafer LED downlight (fixture); 20 14/2 NM-B Copper; 2 Wire nut, 22-8 AWG (tan/red) | catalogReview20261008.test.ts |  |  | stagingStartersCheck.mts
LT33 | Recessed can retrofit, 4" | Both | Lighting | 1 4" recessed can, remodel IC (fixture); 1 4" LED retrofit trim; 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  |  | stagingStartersCheck.mts
LT9 | Shower light, wet-rated | Residential | Lighting | 1 4" recessed can, new construction IC (fixture); 1 4" shower wet-rated trim; 1 LED PAR20 bulb; 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red)
LT10 | Pendant light | Residential | Lighting | 1 Round ceiling box, plastic, 20 cu in; 1 LED pendant fixture (fixture); 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red)
LT11 | Chandelier, heavy bracing | Residential | Lighting | 1 Ceiling fan brace box, 1-1/2" deep; 1 Chandelier (fixture); 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red)
LT12 | Vanity light | Residential | Lighting | 1 Round ceiling box, plastic, 20 cu in; 1 Vanity light, 3-light (fixture); 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red)
LT13 | Wall sconce | Residential | Lighting | 1 Round ceiling box, plastic, 20 cu in; 1 LED wall sconce (fixture); 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red)
LT14 | Under-cabinet light | Residential | Lighting | 1 24" under-cabinet light bar (fixture); 15 14/2 NM-B Copper; 1 3/8" NM clamp connector; 2 Wire nut, 22-8 AWG (tan/red)
LT15 | Exterior porch light | Residential | Lighting | 1 Siding mounting block; 1 Round ceiling box, plastic, 20 cu in; 1 LED wall sconce (fixture); 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red)
LT16 | Flood / security light | Both | Lighting | 1 1/2" weatherproof round box, 1-1/2" deep; 1 LED security light, motion-activated, 2-head (fixture); 25 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red)
LT17 | Landscape transformer and circuit | Residential | Lighting | 1 300W landscape transformer; 1 1/2" weatherproof box, single-gang, 2" deep; 1 15A GFCI receptacle, weather-resistant; 1 Weatherproof in-use cover; 25 12/2 UF-B Copper; 3 Wire nut, 22-8 AWG (tan/red)
LT18 | Landscape light, each | Residential | Lighting | 1 Landscape light fixture (fixture); 30 12/2 landscape lighting cable Copper; 1 Landscape hub connector
LT19 | 2x4 LED troffer, lay-in | Commercial | Lighting | 1 2x4 LED troffer (fixture); 1 6 ft fixture whip, 3/8" MC, 14/3; 4 T-grid fixture clip; 2 12 ga ceiling hanger wire; 2 T-grid independent support clip; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
LT20 | 2x2 LED troffer, lay-in | Commercial | Lighting | 1 2x2 LED troffer (fixture); 1 6 ft fixture whip, 3/8" MC, 14/3; 4 T-grid fixture clip; 2 12 ga ceiling hanger wire; 2 T-grid independent support clip; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
LT21 | 1x4 LED troffer, lay-in | Commercial | Lighting | 1 1x4 LED troffer (fixture); 1 6 ft fixture whip, 3/8" MC, 14/3; 4 T-grid fixture clip; 2 12 ga ceiling hanger wire; 2 T-grid independent support clip; 3 Wire nut, 22-8 AWG (tan/red)
LT22 | 4 ft LED strip, surface / suspended | Commercial | Lighting | 1 4 ft LED strip fixture (fixture); 1 6 ft fixture whip, 3/8" MC, 14/3; 2 12 ga ceiling hanger wire; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
LT23 | 8 ft LED strip (sales floor rows) | Commercial | Lighting | 1 8 ft LED strip fixture (fixture); 1 8 ft MC whip, 14/3; 2 12 ga ceiling hanger wire; 3 Wire nut, 22-8 AWG (tan/red); 2 Fixture hanging kit, aircraft cable | coverageCheckStarters.test.ts, starterCoverRepair.test.ts |  | starterCoverSwaps.ts
LT24 | 4 ft LED wraparound (back room) | Commercial | Lighting | 1 4 ft LED wraparound (fixture); 1 4" square box, 1-1/2" deep; 1 4" square mud ring, fixture; 3 Wire nut, 22-8 AWG (tan/red)
LT25 | 4 ft vapor tight (cooler, dock) | Commercial | Lighting | 1 4 ft vapor tight fixture (fixture); 1 6 ft fixture whip, 3/8" MC, 14/3; 1 1/2" cord grip (0.25"-0.50" cord); 3 Wire nut, 22-8 AWG (tan/red) | catalogReview20261008.test.ts
LT26 | High bay | Commercial | Lighting | 1 High bay (fixture); 1 8 ft MC whip, 14/3; 2 Beam clamp, 3/8" rod; 3 Wire nut, 22-8 AWG (tan/red) |  |  | lighting.ts, starterParts.ts | movedFromSheet.ts |  |  | Name is also a catalog material: code hits may be the material
LT27 | Exit sign | Commercial | Lighting | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, fixture; 1 Exit sign (fixture); 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 3 Wire nut, 22-8 AWG (tan/red) | deleteCount.test.ts, sheetClear.test.ts, takeoffExport.test.ts, takeoffStamps.test.ts, takeoffVerticals.test.ts, deleteQuestions.test.ts, deviceFamily.test.ts, pinLetters.test.ts, provisionalCount.test.ts, undoPersist.test.ts, readerAccuracyAnswerKey.test.ts |  | lighting.ts, starterLaborSteps.ts, starterParts.ts | HeightsSection.tsx, buildLaborSheet.mts |  |  | Name is also a catalog material: code hits may be the material
LT28 | Emergency light / exit combo | Commercial | Lighting | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, fixture; 1 Emergency exit light combo (fixture); 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
LT29 | Exterior wall pack | Commercial | Lighting | 1 Wall pack, full cutoff (fixture); 1 1/2" weatherproof round box, 1-1/2" deep; 1 1/2" EMT raintight compression connector; 1 Silicone sealant; 3 Wire nut, 22-8 AWG (tan/red)
LT30 | Track light, 8 ft with 4 heads | Commercial | Lighting | 1 Octagon box, metal, 1-1/2" deep; 1 8 ft lighting track; 1 Track light end feed; 4 Track light head (fixture); 3 Wire nut, 22-8 AWG (tan/red)
RS1 | Range receptacle, 50A | Residential | Equipment Connections | 1 4-11/16" square box, 2-1/8" deep; 1 50A range receptacle, NEMA 14-50R; 1 4-11/16" square raised cover, 30A/50A power receptacle; 40 6/3 NM-B Copper; 1 50A 2-Pole breaker; 1 3/4" NM clamp connector; 1 Range cord, 4-wire, 50A, 6 ft | starterCoverRepair.test.ts, starterCoverSwaps.test.ts |  | starterLaborSteps.ts, starterCoverSwaps.ts
RS2 | Dryer receptacle, 30A | Residential | Equipment Connections | 1 4-11/16" square box, 2-1/8" deep; 1 30A dryer receptacle, NEMA 14-30R (4-wire); 1 4-11/16" square raised cover, 30A/50A power receptacle; 40 10/3 NM-B Copper; 1 30A 2-Pole breaker; 1 1/2" NM clamp connector; 1 Dryer cord, 4-wire | starterCoverRepair.test.ts, starterCoverSwaps.test.ts |  | starterCoverSwaps.ts
RS3 | Electric water heater connection | Residential | Equipment Connections | 40 10/2 NM-B Copper; 1 30A 2-Pole breaker; 1 Breaker lock-off; 1 1/2" NM clamp connector; 3 Wire nut, 22-8 AWG (tan/red)
RS4 | Dishwasher connection | Residential | Equipment Connections | 1 Dishwasher whip (fixture); 35 12/2 NM-B Copper; 1 20A 1-Pole AFCI/GFCI combo breaker; 1 3/8" NM clamp connector; 3 Wire nut, 22-8 AWG (tan/red)
RS5 | Garbage disposal, switched | Residential | Equipment Connections | 2 Single-gang new work box, plastic, 18 cu in; 1 15A duplex receptacle; 1 15A single-pole switch; 1 1-gang wall plate, duplex, nylon; 1 1-gang wall plate, toggle, nylon; 1 Garbage disposal cord (fixture); 35 12/2 NM-B Copper; 10 12/3 NM-B Copper; 1 20A 1-Pole AFCI/GFCI combo breaker; 5 Wire nut, 22-8 AWG (tan/red) | starterCoverRepair.test.ts, starterCoverSwaps.test.ts |  | starterCoverSwaps.ts
RS6 | Range hood / microwave circuit | Residential | Equipment Connections | 1 Range hood fan (fixture); 20 14/2 NM-B Copper; 1 3/8" NM clamp connector; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
RS7 | Bath exhaust fan wiring | Residential | Equipment Connections | 1 Bath exhaust fan, 80 CFM (fixture); 1 4" insulated flex duct, 25 ft; 1 4" roof vent cap; 2 4" duct clamp, worm gear; 20 14/3 NM-B Copper; 1 3/8" NM clamp connector; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
RS8 | Bath fan/light combo, humidity switch | Residential | Equipment Connections | 1 Bath exhaust fan, light combo (fixture); 1 Humidity sensor switch; 1 Single-gang new work box, plastic, 18 cu in; 1 1-gang wall plate, decorator, nylon; 1 4" insulated flex duct, 25 ft; 1 4" wall vent cap; 2 4" duct clamp, worm gear; 20 14/3 NM-B Copper; 4 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
RS9 | Combination smoke/CO detector | Residential | Devices | 1 Shallow round box, 1/2" deep; 1 Hardwired smoke/CO detector (fixture); 20 14/3 NM-B Copper; 4 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
RS10 | Doorbell, wired | Residential | Low Voltage/EMS | 1 Doorbell transformer; 1 Doorbell button; 1 Doorbell chime, wired; 50 18/2 control wire Copper
RS11 | Video doorbell wiring | Residential | Low Voltage/EMS | 1 Video doorbell (fixture); 1 Video doorbell power kit; 1 Doorbell transformer; 30 18/2 control wire Copper
RS12 | EV charger circuit, 48A hardwired | Residential | Equipment Connections | 1 48A EV charger (fixture); 40 4/3 NM-B Copper; 1 60A 2-Pole breaker; 1 1" NM clamp connector | coverageCheckStarters.test.ts, starterCoverRepair.test.ts |  | starterCoverSwaps.ts
RS13 | EV / RV receptacle, 50A (NEMA 14-50) | Residential | Equipment Connections | 1 4-11/16" square box, 2-1/8" deep; 1 50A range receptacle, NEMA 14-50R; 1 4-11/16" square raised cover, 30A/50A power receptacle; 1 Weatherproof in-use cover, 30A/50A power receptacle; 40 6/3 NM-B Copper; 1 50A 2-Pole GFCI breaker; 1 1" NM clamp connector | starterCoverRepair.test.ts, starterCoverSwaps.test.ts, starterRetiredRepair.test.ts |  | starterCoverSwaps.ts
RS14 | Hot tub / spa connection | Residential | Equipment Connections | 1 60A GFCI spa disconnect; 1 60A 2-Pole breaker; 6 3/4" liquidtight flexible conduit; 2 3/4" liquidtight flexible conduit connector; 18 #6 THHN Copper; 6 #10 THHN solid Copper; 1 Spa bonding lug; 20 #8 bare solid Copper
RS15 | Pool pump connection | Residential | Equipment Connections | 1 30A non-fused disconnect, NEMA 3R, 240V; 1 20A 2-Pole GFCI breaker; 6 1/2" liquidtight flexible conduit; 2 1/2" liquidtight flexible conduit connector; 18 #12 THHN solid Copper; 20 #8 bare solid Copper; 1 Spa bonding lug
RS16 | Well pump connection | Residential | Equipment Connections | 1 Well pump control box, 1/2 HP 230V 3-wire; 1 Well pump pressure switch; 1 30A 2-Pole breaker; 30 10/2 NM-B Copper; 1 Submersible pump splice kit; 150 12/2 submersible pump cable Copper | catalogReview20261008.test.ts
RS17 | Sump pump circuit | Residential | Equipment Connections | 1 Single-gang new work box, plastic, 18 cu in; 1 20A single receptacle; 1 1-gang wall plate, single receptacle, nylon; 35 12/2 NM-B Copper; 1 20A 1-Pole GFCI breaker; 3 Wire nut, 22-8 AWG (tan/red) | starterCoverSwaps.test.ts |  | starterCoverSwaps.ts
RS18 | Generator inlet and interlock | Residential | Panels | 1 Generator interlock kit; 1 30A power inlet box; 1 30A 2-Pole breaker; 25 10/3 NM-B Copper; 1 1/2" NM clamp connector; 1 30A generator cord (fixture)
RS19 | Baseboard heater, 240V | Residential | Equipment Connections | 1 Baseboard heater (fixture); 1 Baseboard heater thermostat; 1 Single-gang new work box, plastic, 18 cu in; 35 12/2 NM-B Copper; 1 20A 2-Pole breaker; 4 Wire nut, 22-8 AWG (tan/red)
RS20 | Attic fan with thermostat | Residential | Equipment Connections | 1 Attic fan (fixture); 1 Attic fan thermostat; 25 14/2 NM-B Copper; 1 3/8" NM clamp connector; 3 Wire nut, 22-8 AWG (tan/red)
CS1 | Sign circuit and disconnect | Commercial | Equipment Connections | 1 20A 1-Pole breaker; 1 30A non-fused disconnect, NEMA 3R, 240V; 6 1/2" liquidtight flexible conduit; 2 1/2" liquidtight flexible conduit connector; 18 #12 THHN solid Copper; 1 1/2" EMT raintight compression connector
CS2 | Time clock and lighting contactor | Commercial | Lighting | 1 Time clock; 1 30A 8-pole lighting contactor; 1 Photocell; 30 #14 THHN solid Copper; 6 Wire nut, 22-8 AWG (tan/red)
CS3 | Hand dryer | Commercial | Equipment Connections | 1 4" square box, 1-1/2" deep; 1 4" square blank cover; 40 12/2 MC cable Copper; 1 20A 1-Pole breaker; 2 3/8" MC connector; 2 MC anti-short bushing; 3 Wire nut, 22-8 AWG (tan/red)
CS4 | Drinking fountain / EWC | Commercial | Equipment Connections | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 20A GFCI receptacle; 1 1-gang wall plate, decorator, nylon; 40 12/2 MC cable Copper; 1 20A 1-Pole breaker; 2 3/8" MC connector; 2 MC anti-short bushing; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
CS5 | Reach-in cooler / freezer receptacle | Commercial | Equipment Connections | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 20A single receptacle; 1 1-gang wall plate, single receptacle, nylon; 40 12/2 MC cable Copper; 1 20A 1-Pole breaker; 2 3/8" MC connector; 2 MC anti-short bushing; 3 Wire nut, 22-8 AWG (tan/red) | starterCoverSwaps.test.ts |  | starterCoverSwaps.ts
CS6 | Twist-lock receptacle, L5-20 | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square raised cover, single receptacle; 1 L5-20 receptacle; 40 12/2 MC cable Copper; 1 20A 1-Pole breaker; 2 3/8" MC connector; 2 MC anti-short bushing | starterCoverRepair.test.ts, starterCoverSwaps.test.ts |  | starterCoverSwaps.ts
CS7 | Twist-lock receptacle, L6-30 | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square raised cover, single receptacle; 1 L6-30 receptacle; 40 10/2 MC cable Copper; 1 30A 2-Pole breaker; 2 3/8" MC connector; 2 MC anti-short bushing | starterCoverSwaps.test.ts |  | starterCoverSwaps.ts
CS8 | Twist-lock receptacle, L14-30 | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square raised cover, single receptacle; 1 L14-30 receptacle; 40 10/3 MC cable Copper; 1 30A 2-Pole breaker; 2 3/8" MC connector; 2 MC anti-short bushing | starterCoverSwaps.test.ts |  | starterCoverSwaps.ts
CS9 | Tele-power pole | Commercial | Devices | 1 Tele-power pole, 10 ft; 1 Power pole fitting kit; 25 12/3 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 4 Wire nut, 22-8 AWG (tan/red) | catalogReview20261008.test.ts
CS10 | Modular furniture feed | Commercial | Devices | 1 Furniture feed connector; 1 Modular furniture whip, 6 ft; 1 4" square box, 1-1/2" deep; 1 4" square blank cover; 4 Wire nut, 22-8 AWG (tan/red) | catalogReview20261008.test.ts
CS11 | Fire alarm pull station | Commercial | Low Voltage/EMS | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 Fire alarm pull station; 50 14/2 fire alarm cable Copper |  |  | safetyAndSupport.ts, starterParts.ts | materialCommonness.ts, movedFromSheet.ts |  |  | Name is also a catalog material: code hits may be the material
CS12 | Fire alarm horn/strobe | Commercial | Low Voltage/EMS | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, 2-gang; 1 Fire alarm horn/strobe; 50 14/2 fire alarm cable Copper |  |  | safetyAndSupport.ts, starterParts.ts | materialCommonness.ts |  |  | Name is also a catalog material: code hits may be the material
CS13 | Fire alarm smoke detector (system) | Commercial | Low Voltage/EMS | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, fixture; 1 Detector base; 50 14/2 fire alarm cable Copper; 1 System smoke detector
CS14 | Duct smoke detector | Commercial | Low Voltage/EMS | 1 Duct smoke detector; 1 Relay module, smoke alarm; 50 14/2 fire alarm cable Copper; 25 18/4 control wire Copper |  |  | safetyAndSupport.ts, starterParts.ts | buildPricingSheet.mts |  |  | Name is also a catalog material: code hits may be the material
CS15 | Kitchen hood shunt interface | Commercial | Equipment Connections | 1 Hood suppression micro-switch; 1 Equipment shut-off relay; 1 30A 2-Pole shunt-trip breaker; 50 18/4 control wire Copper; 4 Wire nut, 22-8 AWG (tan/red)
CS16 | Knox box | Commercial | General | 1 Rapid-entry key box; 4 3/8" x 3" concrete wedge anchor
PG2 | Service upgrade 200A, overhead | Residential | Panels | 1 200A meter base; 1 200A main-breaker panel, 40-space, indoor; 1 2" metal weatherhead; 10 2" rigid conduit; 1 2" rigid conduit coupling; 2 2" conduit locknut; 1 2" insulating bushing; 20 4/0 XHHW Aluminum; 10 2/0 XHHW Aluminum; 2 Ground rod, 5/8" x 8 ft; 2 Ground rod clamp, 5/8", direct burial; 30 #4 bare stranded Copper; 1 Water pipe bonding clamp; 1 Intersystem bonding bridge; 1 Panel directory label; 1 2" meter hub; 1 2" mast roof flashing; 2 2" riser strap
PG3 | Service upgrade 200A, meter-main outdoor | Residential | Panels | 1 200A meter-main combination; 10 4/0-4/0-4/0-2/0 SER Aluminum; 2 Ground rod, 5/8" x 8 ft; 2 Ground rod clamp, 5/8", direct burial; 30 #4 bare stranded Copper; 1 Water pipe bonding clamp; 1 Intersystem bonding bridge; 1 Panel directory label; 2 2" SE cable connector
PG4 | Panel replacement like-for-like, 200A | Both | Panels | 1 200A main-breaker panel, 40-space, indoor; 30 #12 THHN solid Copper; 12 Wire nut, 22-8 AWG (tan/red); 4 1/2" knockout seal; 1 Panel directory label
PG5 | Subpanel, 100A (resi, 60A feed) | Residential | Panels | 1 125A main-lug panel, 24-space, indoor; 1 60A 2-Pole breaker; 30 6/3 NM-B Copper; 1 Ground bar kit; 1 1" NM clamp connector; 1 Panel directory label
PG6 | Load center relocate | Both | Panels | 40 #12 THHN solid Copper; 20 Wire nut, 22-8 AWG (tan/red); 1 6x6x4 pull box; 4 1/2" knockout seal
PG7 | Breaker add, single-pole | Both | Panels | 1 20A 1-Pole breaker |  |  | starterLaborSteps.ts
PG8 | Breaker add, 2-pole | Both | Panels | 1 30A 2-Pole breaker
PG9 | Breaker swap to AFCI/GFCI | Residential | Panels | 1 20A 1-Pole AFCI/GFCI combo breaker
PG10 | Whole-house surge protector | Residential | Panels | 1 Whole-house surge protector; 1 20A 2-Pole breaker; 1 1/2" conduit locknut |  |  | safetyAndSupport.ts, starterParts.ts |  |  |  | Name is also a catalog material: code hits may be the material
PG11 | Grounding electrode system | Both | Panels | 2 Ground rod, 5/8" x 8 ft; 2 Ground rod clamp, 5/8", direct burial; 30 #6 bare stranded Copper; 1 Water pipe bonding clamp; 1 Intersystem bonding bridge
PG12 | Panelboard 225A 3-phase, main-lug | Commercial | Panels | 1 225A panelboard, 3-phase main-lug, 42-space; 4 3/8" x 3" concrete wedge anchor; 1 Panel directory label; 1 Arc flash label
PG13 | Panelboard 225A 3-phase, main breaker | Commercial | Panels | 1 225A panelboard, 3-phase main, 42-space; 4 3/8" x 3" concrete wedge anchor; 1 Panel directory label; 1 Arc flash label
PG14 | Panelboard 400A 3-phase, main breaker | Commercial | Panels | 1 400A panelboard, 3-phase main, 42-space; 6 3/8" x 3" concrete wedge anchor; 1 Panel directory label; 1 Arc flash label
PG15 | Feeder breaker, 3-pole | Commercial | Panels | 1 100A 3-Pole breaker; 4 #3 AWG crimp lug | starterRetiredRepair.test.ts
PG16 | Dry-type transformer, 45 kVA | Commercial | Panels | 1 45 kVA dry-type transformer, 480V-208Y/120V 3-phase; 1 70A 3-Pole breaker; 6 1-1/4" flexible metal conduit; 4 1-1/4" flexible metal conduit connector; 2 #4 AWG crimp lug; 20 #4 bare stranded Copper; 0.4 1-5/8" x 1-5/8" strut channel, 10 ft; 2 1/2" all-thread rod, 10 ft | starterRetiredRepair.test.ts
PG17 | Safety switch, 100A fused | Both | Panels | 1 100A fused disconnect, NEMA 1, 240V; 3 100A 250V Class RK5 cartridge fuse; 4 3/8" x 3" concrete wedge anchor
PG18 | Building surge protective device | Commercial | Panels | 1 Panel-mount surge protective device, Type 2; 1 30A 3-Pole breaker; 12 #10 THHN solid Copper; 1 3/4" conduit locknut
PG19 | Standby generator hookup | Residential | Panels | 1 200A automatic transfer switch; 1 Generator pad; 1 Generator battery charger; 30 18/4 control wire Copper; 1 Ground rod, 5/8" x 8 ft; 1 Ground rod clamp, 5/8", direct burial
PG20 | Temporary power pole | Both | Panels | 1 100A meter base; 1 100A main-breaker panel, 12-space, outdoor; 2 15A GFCI receptacle, weather-resistant; 1 Weatherproof in-use cover, 2-gang; 1 1/2" weatherproof box, double-gang, 2" deep; 1 Ground rod, 5/8" x 8 ft; 1 Ground rod clamp, 5/8", direct burial; 10 #6 bare stranded Copper; 1 Temporary pole, 6x6 post | starterRetiredRepair.test.ts
MH1 | HVAC condenser disconnect + whip | Both | Equipment Connections | 1 60A non-fused pullout disconnect; 1 AC whip, 3/4" x 6 ft liquidtight, #8; 1 30A 2-Pole breaker; 35 10/2 NM-B Copper; 1 1/2" NM clamp connector; 1 Duct seal |  |  | starterLaborSteps.ts
MH2 | Furnace / air handler, 120V | Residential | Equipment Connections | 1 Handy box, 1-7/8" deep; 1 Handy box cover, single toggle; 1 Manual motor starter switch, 2-pole 30A; 35 14/2 NM-B Copper; 1 15A 1-Pole breaker; 2 3/8" NM clamp connector; 3 Wire nut, 22-8 AWG (tan/red)
MH3 | Air handler with electric heat, 60A | Residential | Equipment Connections | 1 60A non-fused disconnect, NEMA 1, 240V; 1 60A 2-Pole breaker; 35 6/3 NM-B Copper; 2 1" NM clamp connector
MH4 | Mini-split connection | Residential | Equipment Connections | 1 60A non-fused pullout disconnect; 1 AC whip, 3/4" x 6 ft liquidtight, #8; 1 20A 2-Pole breaker; 35 12/2 NM-B Copper; 1 1/2" NM clamp connector; 25 14/4 mini-split cable Copper
MH5 | Rooftop unit (RTU) hookup | Commercial | Equipment Connections | 1 60A non-fused disconnect, NEMA 3R, 240V; 6 3/4" liquidtight flexible conduit; 2 3/4" liquidtight flexible conduit connector; 18 #6 THHN Copper; 6 #10 THHN solid Copper; 1 3/4" EMT raintight compression connector; 1 Pipe roof flashing boot, adjustable split
MH6 | RTU service receptacle | Commercial | Equipment Connections | 1 1/2" weatherproof box, single-gang, 2" deep; 1 20A GFCI receptacle, weather-resistant; 1 Weatherproof in-use cover; 1 1/2" EMT raintight compression connector; 3 Wire nut, 22-8 AWG (tan/red)
MH7 | Walk-in cooler, condensing unit | Commercial | Equipment Connections | 1 30A non-fused disconnect, NEMA 3R, 240V; 1 30A 3-Pole breaker; 6 3/4" liquidtight flexible conduit; 2 3/4" liquidtight flexible conduit connector; 24 #10 THHN solid Copper
MH8 | Walk-in cooler, evaporator | Commercial | Equipment Connections | 1 30A non-fused disconnect, NEMA 1, 240V; 1 20A 2-Pole breaker; 6 1/2" liquidtight flexible conduit; 2 1/2" liquidtight flexible conduit connector; 18 #12 THHN solid Copper; 1 1/2" cord grip (0.25"-0.50" cord) | catalogReview20261008.test.ts
MH9 | Exhaust fan, commercial | Commercial | Equipment Connections | 1 Handy box, 1-7/8" deep; 1 Handy box cover, single toggle; 1 Manual motor starter switch, 2-pole 30A; 6 1/2" flexible metal conduit; 2 1/2" flexible metal conduit connector; 18 #12 THHN solid Copper; 3 Wire nut, 22-8 AWG (tan/red)
MH10 | Motor with starter, 3-phase | Commercial | Equipment Connections | 1 Motor starter, size 1; 1 30A non-fused disconnect, NEMA 1, 240V; 1 30A 3-Pole breaker; 6 3/4" liquidtight flexible conduit; 2 3/4" liquidtight flexible conduit connector; 24 #10 THHN solid Copper | catalogReview20261008.test.ts
MH11 | Motor on VFD | Commercial | Equipment Connections | 1 Variable frequency drive, 5 HP, 480V 3-phase; 1 30A non-fused disconnect, NEMA 1, 240V; 1 30A 3-Pole breaker; 6 3/4" liquidtight flexible conduit; 2 3/4" liquidtight flexible conduit connector; 24 #10 THHN solid Copper | catalogReview20261008.test.ts
MH12 | Unit heater | Commercial | Equipment Connections | 1 Electric unit heater, 5 kW 240V (fixture); 1 30A non-fused disconnect, NEMA 1, 240V; 1 30A 2-Pole breaker; 6 1/2" flexible metal conduit; 2 1/2" flexible metal conduit connector; 18 #10 THHN solid Copper; 2 Beam clamp, 3/8" rod; 1 3/8" all-thread rod, 10 ft |  |  | safetyAndSupport.ts | catalogRealityCheck20261009.ts, buildPricingSheet.mts
MH13 | Tankless electric water heater | Residential | Equipment Connections | 2 40A 2-Pole breaker; 80 8/2 NM-B Copper; 2 3/4" NM clamp connector
MH14 | Thermostat low-voltage wiring | Both | Equipment Connections | 50 18/5 control wire Copper; 1 Low-voltage mounting bracket, 1-gang
DR1 | Demo fixture, blank the box | Both | Demo & Retrofit | 1 4" square blank cover; 3 Wire nut, 22-8 AWG (tan/red) | starterAssembliesSeed.test.ts
DR2 | Demo device, blank plate | Both | Demo & Retrofit | 1 1-gang wall plate, blank, nylon; 3 Wire nut, 22-8 AWG (tan/red) | starterAssembliesSeed.test.ts, starterRetiredRepair.test.ts |  | starterLaborSteps.ts
DR3 | Demo lay-in fixture, make safe above ceiling | Commercial | Demo & Retrofit | 1 4" square blank cover; 3 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
DR4 | Demo circuit back to panel | Commercial | Demo & Retrofit | 1 Panel filler plate; 1 Panel directory label
DR5 | Relocate lay-in troffer (≤6 ft) | Commercial | Demo & Retrofit | 1 6 ft fixture whip, 3/8" MC, 14/3; 4 T-grid fixture clip; 2 T-grid independent support clip; 3 Wire nut, 22-8 AWG (tan/red)
DR6 | Replace troffer like-for-like | Commercial | Demo & Retrofit | 1 2x4 LED troffer (fixture); 4 T-grid fixture clip; 3 Wire nut, 22-8 AWG (tan/red)
DR7 | Troffer LED retrofit kit | Commercial | Demo & Retrofit | 1 LED troffer retrofit kit; 4 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
DR8 | 4 ft fluorescent to LED, ballast bypass (2-lamp) | Commercial | Demo & Retrofit | 2 4 ft LED T8 tube, ballast bypass; 4 Non-shunted lampholder; 4 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
DR9 | 4 ft fluorescent to LED, plug-and-play (2-lamp) | Commercial | Demo & Retrofit | 2 4 ft LED T8 tube, ballast compatible
DR10 | 8 ft fluorescent to LED, single-pin (2-lamp) | Commercial | Demo & Retrofit | 2 8 ft LED tube, FA8 single-pin, ballast bypass; 4 Wire nut, 22-8 AWG (tan/red)
DR11 | 8 ft HO fluorescent to LED (2-lamp) | Commercial | Demo & Retrofit | 2 8 ft LED tube, R17d HO, ballast bypass; 4 Wire nut, 22-8 AWG (tan/red)
DR12 | HID to LED corn lamp | Commercial | Demo & Retrofit | 1 LED corn bulb, E39, 100W; 2 Wire nut, 22-8 AWG (tan/red)
DR13 | Replace HID high bay with LED high bay | Commercial | Demo & Retrofit | 1 High bay (fixture); 3 Wire nut, 22-8 AWG (tan/red)
DR14 | Replace wall pack | Commercial | Demo & Retrofit | 1 Wall pack, full cutoff (fixture); 1 Silicone sealant; 3 Wire nut, 22-8 AWG (tan/red)
DR15 | Replace exit / emergency light | Commercial | Demo & Retrofit | 1 Emergency exit light combo (fixture); 3 Wire nut, 22-8 AWG (tan/red)
DR16 | Replace receptacle like-for-like | Both | Demo & Retrofit | 1 20A duplex receptacle; 1 1-gang wall plate, duplex, nylon | starterAssembliesSeed.test.ts |  | starterCoverSwaps.ts
DR17 | Replace receptacle with GFCI | Both | Demo & Retrofit | 1 20A GFCI receptacle; 1 1-gang wall plate, decorator, nylon | starterAssembliesSeed.test.ts |  | starterCoverSwaps.ts
DR18 | Replace switch with occupancy sensor | Commercial | Demo & Retrofit | 1 Dual-tech occupancy sensor switch; 1 1-gang wall plate, decorator, nylon; 2 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DR19 | Relocate receptacle (wall move), MC | Commercial | Demo & Retrofit | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 20A duplex receptacle; 1 1-gang wall plate, duplex, nylon; 15 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 4" square blank cover; 6 Wire nut, 22-8 AWG (tan/red) |  |  | starterCoverSwaps.ts
DR20 | Recessed can LED retrofit (resi) | Residential | Demo & Retrofit | 1 6" LED retrofit trim |  |  | lighting.ts
MS1 | Junction box, 4" square | Both | General | 1 4" square box, 1-1/2" deep; 1 4" square blank cover; 1 Grounding pigtail; 4 Wire nut, 22-8 AWG (tan/red)
MS2 | Junction box above lay-in ceiling | Commercial | General | 1 4" square box, 1-1/2" deep; 1 4" square blank cover; 1 T-grid independent support clip; 1 12 ga ceiling hanger wire; 1 Grounding pigtail; 4 Wire nut, 22-8 AWG (tan/red) |  |  | starterLaborSteps.ts
MS3 | Pull box, 12x12 | Commercial | General | 1 12x12x4 pull box; 4 3/8" x 3" concrete wedge anchor
MS4 | Firestop penetration | Both | General | 0.25 Firestop caulk | materialsList.test.ts
MS5 | Conduit trapeze (strut rack), per hanger | Commercial | General | 0.3 1-5/8" x 1-5/8" strut channel, 10 ft; 1 3/8" all-thread rod, 10 ft; 2 Beam clamp, 3/8" rod; 4 3/8" hex nut; 4 3/8" flat washer | starterRetiredRepair.test.ts
MS6 | Data drop, Cat6 (commercial) | Commercial | Low Voltage/EMS | 1 Low-voltage mounting bracket, 1-gang; 150 Cat6 cable Copper; 1 Cat6 jack; 1 Keystone wall plate, 1-port; 3 J-hook, 2" | deviceMountKind.test.ts
MS7 | Data drop, Cat6 (resi) | Residential | Low Voltage/EMS | 1 Low-voltage mounting bracket, 1-gang; 75 Cat6 cable Copper; 1 Cat6 jack; 1 Keystone wall plate, 1-port | deviceMountKind.test.ts
MS8 | Cable TV drop | Residential | Low Voltage/EMS | 1 Low-voltage mounting bracket, 1-gang; 75 RG6 coax cable Copper; 2 Coax F connector; 1 Coax wall plate | deviceMountKind.test.ts
MS9 | Security camera drop | Both | Low Voltage/EMS | 1 Security camera, dome (fixture); 100 Cat6 cable Copper; 1 Cat6 jack; 1 Cat6 RJ45 end
MS10 | In-ceiling speaker | Residential | Low Voltage/EMS | 1 In-ceiling speaker (fixture); 50 16/2 speaker wire Copper |  |  | lowVoltage.ts, starterParts.ts | buildPricingSheet.mts |  |  | Name is also a catalog material: code hits may be the material
MS11 | Network patch panel, 24-port | Commercial | Low Voltage/EMS | 1 Cat6 patch panel, 24-port; 1 Network rack, wall mount; 1 Horizontal cable manager; 24 Cat6 patch cord, 3 ft
MS12 | Structured media enclosure (resi) | Residential | General | 1 Structured media enclosure; 1 15A duplex receptacle; 1 Single-gang new work box, plastic, 18 cu in; 1 1-gang wall plate, duplex, nylon; 25 12/2 NM-B Copper | starterCoverSwaps.test.ts |  | starterCoverSwaps.ts
MS13 | Panel labelling (existing panel) | Both | General | 1 Panel directory label; 1 Arc flash label
MS14 | Temporary lighting string, per 100 ft | Both | General | 1 Temporary light string, 100 ft
GC1 | Emergency battery pack added to a troffer | Commercial | Lighting | 1 Emergency battery backup pack; 4 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  |  | stagingStartersCheck.mts
GC2 | Panelboard replacement, 3-phase, existing feeders | Commercial | Panels | 1 225A panelboard, 3-phase main, 42-space; 40 #12 THHN solid Copper; 20 Wire nut, 22-8 AWG (tan/red); 4 1/2" knockout seal; 1 Panel directory label; 1 Arc flash label | starterGapAssemblies.test.ts |  |  | stagingStartersCheck.mts
GC3 | Site / parking lot pole light | Commercial | Lighting | 1 20 ft square steel light pole, 4" 11 ga; 1 LED area light (fixture); 1 Pole anchor bolt kit; 1 Pole base cover; 1 Non-shrink grout, 50 lb bag; 1 Pole handhole cover; 1 Ground rod, 5/8" x 8 ft; 1 Ground rod clamp, 5/8", direct burial; 3 Wire nut, 22-8 AWG (tan/red); 1 Concrete pole base | starterGapAssemblies.test.ts, catalogReview20261008.test.ts |  |  | stagingStartersCheck.mts
GC4 | Emergency light, remote head | Commercial | Lighting | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, fixture; 1 Emergency light remote head (fixture); 25 18/2 control wire Copper; 2 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  |  | stagingStartersCheck.mts
GC5 | 120V feed for door hardware / access control | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square blank cover; 40 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 20A 1-Pole breaker; 3 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  |  | stagingStartersCheck.mts | 3 bids: 3 bid lines, 3 kit lines
GR1 | Single-pole switch, old work | Residential | Devices | 1 Single-gang old work box, plastic, 20 cu in; 1 15A single-pole switch; 1 1-gang wall plate, toggle, nylon; 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  | starterCoverSwaps.ts | stagingStartersCheck.mts
GR2 | Service upgrade 200A, underground | Residential | Panels | 1 200A meter base; 1 200A main-breaker panel, 40-space, indoor; 10 2" PVC Sch 40; 1 2" PVC Sch 40 90-degree elbow; 2 2" PVC Sch 40/80 terminal adapter; 10 4/0-4/0-4/0-2/0 SER Aluminum; 2 Ground rod, 5/8" x 8 ft; 2 Ground rod clamp, 5/8", direct burial; 30 #4 bare stranded Copper; 1 Water pipe bonding clamp; 1 Intersystem bonding bridge; 1 Panel directory label | starterGapAssemblies.test.ts, tracedParts.test.ts, migrationBatch0135.test.ts |  |  | stagingStartersCheck.mts
GR3 | Service 320A / 400A residential (two 200A panels) | Residential | Panels | 1 400A meter base; 2 200A main-breaker panel, 40-space, indoor; 20 4/0-4/0-4/0-2/0 SER Aluminum; 2 Ground rod, 5/8" x 8 ft; 2 Ground rod clamp, 5/8", direct burial; 30 #4 bare stranded Copper; 1 Water pipe bonding clamp; 1 Intersystem bonding bridge; 2 Panel directory label | starterGapAssemblies.test.ts, starterRetiredRepair.test.ts |  |  | stagingStartersCheck.mts
GR4 | Generator inlet and interlock, 50A | Residential | Panels | 1 Generator interlock kit; 1 50A power inlet box; 1 50A 2-Pole breaker; 25 6/3 NM-B Copper; 1 1" NM clamp connector; 1 50A generator cord (fixture) | starterGapAssemblies.test.ts |  |  | stagingStartersCheck.mts
GR5 | Detached garage / shop feeder and panel | Residential | Panels | 1 100A main-breaker panel, 24-space, indoor; 1 60A 2-Pole breaker; 2 Ground rod, 5/8" x 8 ft; 2 Ground rod clamp, 5/8", direct burial; 20 #6 bare stranded Copper; 2 1" PVC Sch 40/80 terminal adapter; 1 Panel directory label | starterGapAssemblies.test.ts |  |  | stagingStartersCheck.mts
GR6 | Kitchen countertop 20A circuit | Residential | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 20A GFCI receptacle; 1 1-gang wall plate, decorator, nylon; 35 12/2 NM-B Copper; 1 20A 1-Pole AFCI breaker; 3 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  | starterCoverSwaps.ts | stagingStartersCheck.mts
GR7 | Bathroom 20A circuit | Residential | Devices | 1 Single-gang new work box, plastic, 18 cu in; 1 20A GFCI receptacle; 1 1-gang wall plate, decorator, nylon; 35 12/2 NM-B Copper; 1 20A 1-Pole breaker; 3 Wire nut, 22-8 AWG (tan/red) | starterGapAssemblies.test.ts |  | starterCoverSwaps.ts | stagingStartersCheck.mts
CK1 | Emergency light (bug-eye), standalone | Commercial | Lighting | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, fixture; 1 Emergency light (fixture); 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK2 | Fire alarm strobe only | Commercial | Low Voltage/EMS | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, 2-gang; 1 Fire alarm strobe (fixture); 50 14/2 fire alarm cable Copper | coverageCheckStarters.test.ts
CK3 | Water heater connection, commercial (208V, MC) | Commercial | Equipment Connections | 1 30A non-fused disconnect, NEMA 1, 240V; 1 30A 2-Pole breaker; 1 Breaker lock-off; 40 10/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing | coverageCheckStarters.test.ts
CK4 | Recessed wafer downlight, commercial (MC whip) | Commercial | Lighting | 1 6" canless wafer LED downlight (fixture); 1 6 ft fixture whip, 3/8" MC, 14/3; 2 12 ga ceiling hanger wire; 1 T-grid independent support clip; 2 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts, starterGapAssemblies.test.ts
CK5 | Fire alarm control panel connection | Commercial | Low Voltage/EMS | 1 Conventional fire alarm control panel (fixture); 2 12V 7Ah fire alarm battery; 1 20A 1-Pole breaker; 1 Breaker lock-off; 1 4" square box, 1-1/2" deep; 1 4" square blank cover; 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing | coverageCheckStarters.test.ts, catalogReview20261008.test.ts
CK6 | 208V cooler / freezer receptacle (NEMA 6-20) | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square raised cover, single receptacle; 1 20A 250V receptacle, NEMA 6-20R; 40 12/2 MC cable Copper; 1 20A 2-Pole breaker; 2 3/8" MC connector; 2 MC anti-short bushing | coverageCheckStarters.test.ts
CK7 | Duplex receptacle, EMT | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 20A duplex receptacle; 1 1-gang wall plate, duplex, nylon; 2 1/2" EMT compression connector; 1 Grounding pigtail; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK8 | Two switches, one box, MC | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, 2-gang; 2 20A single-pole switch; 1 2-gang wall plate, toggle/toggle, nylon; 40 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 5 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK9 | Data drop, Cat6 2-port (commercial) | Commercial | Low Voltage/EMS | 1 Low-voltage mounting bracket, 1-gang; 300 Cat6 cable Copper; 2 Cat6 jack; 1 Keystone wall plate, 2-port; 3 J-hook, 2" | coverageCheckStarters.test.ts, deviceMountKind.test.ts
CK10 | Daylight sensor | Commercial | Devices | 1 Daylight sensor; 1 4" square box, 1-1/2" deep; 1 4" square mud ring, fixture; 25 18/3 control wire Copper; 2 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts |  | lighting.ts, starterParts.ts | buildPricingSheet.mts |  |  | Name is also a catalog material: code hits may be the material
CK11 | Wall TV / display location, commercial | Commercial | Devices | 1 Recessed TV receptacle box; 1 20A duplex receptacle; 1 HDMI wall plate; 1 Low-voltage mounting bracket, 1-gang; 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing | coverageCheckStarters.test.ts, catalogReview20261008.test.ts
CK12 | Ceiling receptacle for projector | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square raised cover, duplex; 1 20A duplex receptacle; 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK13 | Mini-split connection, MC | Commercial | Equipment Connections | 1 60A non-fused pullout disconnect; 1 AC whip, 3/4" x 6 ft liquidtight, #8; 1 20A 2-Pole breaker; 35 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 25 14/4 mini-split cable Copper | coverageCheckStarters.test.ts
CK14 | Electric wall heater, fan-forced | Both | Equipment Connections | 1 Fan-forced wall heater, 2000W 240V (fixture); 1 Wall heater thermostat; 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 35 12/2 MC cable Copper; 1 20A 2-Pole breaker; 2 3/8" MC connector; 2 MC anti-short bushing; 4 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK15 | Fire alarm speaker/strobe | Commercial | Low Voltage/EMS | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, 2-gang; 1 Fire alarm speaker/strobe (fixture); 50 14/2 fire alarm cable Copper; 50 16/2 fire alarm cable, FPLR, unshielded Copper | coverageCheckStarters.test.ts |  | safetyAndSupport.ts, starterParts.ts | buildPricingSheet.mts |  |  | Name is also a catalog material: code hits may be the material
CK16 | Heat detector | Commercial | Low Voltage/EMS | 1 4" square box, 1-1/2" deep; 1 4" square mud ring, fixture; 1 Detector base; 1 Heat detector (fixture); 50 14/2 fire alarm cable Copper | coverageCheckStarters.test.ts |  | safetyAndSupport.ts, starterParts.ts | buildPricingSheet.mts |  |  | Name is also a catalog material: code hits may be the material
CK17 | Ceiling light, old work | Residential | Lighting | 1 Old work ceiling box, plastic, 18 cu in; 1 Surface-mount ceiling fixture (fixture); 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK18 | Over-range microwave circuit, 20A | Residential | Equipment Connections | 1 Single-gang new work box, plastic, 18 cu in; 1 20A single receptacle; 1 1-gang wall plate, single receptacle, nylon; 35 12/2 NM-B Copper; 1 20A 1-Pole breaker; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK19 | GFCI receptacle, old work | Residential | Devices | 1 Single-gang old work box, plastic, 20 cu in; 1 20A GFCI receptacle; 1 1-gang wall plate, decorator, nylon; 25 12/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK20 | Wall oven or cooktop, hardwired 40A | Residential | Equipment Connections | 1 4-11/16" square box, 2-1/8" deep; 1 4-11/16" square blank cover; 40 8/3 NM-B Copper; 1 40A 2-Pole breaker; 1 3/4" NM clamp connector; 4 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK21 | Bath fan / heater combo, 20A | Residential | Equipment Connections | 1 Bath exhaust fan, heater combo (fixture); 1 4" insulated flex duct, 25 ft; 1 4" roof vent cap; 2 4" duct clamp, worm gear; 25 12/3 NM-B Copper; 1 20A 1-Pole breaker; 1 Single-gang new work box, plastic, 18 cu in; 1 20A single-pole switch; 1 1-gang wall plate, toggle, nylon; 4 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK22 | Heated bathroom floor | Residential | Equipment Connections | 1 Floor heating mat (fixture); 1 Floor heating thermostat, GFCI; 1 Single-gang new work box, plastic, 18 cu in; 35 12/2 NM-B Copper; 1 20A 1-Pole breaker; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK23 | Wall TV location (power + HDMI) | Residential | Devices | 1 Recessed TV receptacle box; 1 15A duplex receptacle; 1 HDMI wall plate; 1 Low-voltage mounting bracket, 1-gang; 25 12/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts, catalogReview20261008.test.ts
CK24 | Island / peninsula pop-up receptacle | Residential | Devices | 1 Pop-up countertop receptacle; 35 12/2 NM-B Copper; 1 20A 1-Pole AFCI/GFCI combo breaker; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK25 | Pendant or sconce, old work | Residential | Lighting | 1 Old work ceiling box, plastic, 18 cu in; 1 LED pendant fixture (fixture); 20 14/2 NM-B Copper; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts
CK26 | Tandem breaker add | Residential | Panels | 1 20/20 tandem breaker | coverageCheckStarters.test.ts
CW1 | Equipment connection, hardwired (flex whip), 208/240V | Commercial | Equipment Connections | 1 4" square box, 1-1/2" deep; 1 4" square blank cover; 6 1/2" flexible metal conduit; 2 1/2" flexible metal conduit connector; 18 #12 THHN solid Copper; 1 20A 2-Pole breaker | coverageCheckStarters.test.ts
CW2 | Commercial Level 2 EV charger, 208V | Commercial | Equipment Connections | 1 EVSE pedestal (fixture); 1 40A 2-Pole breaker; 1 Pole anchor bolt kit; 1 Concrete pole base; 6 3/4" liquidtight flexible conduit; 2 3/4" liquidtight flexible conduit connector | coverageCheckStarters.test.ts, catalogReview20261008.test.ts
CW3 | Outdoor emergency service disconnect (NEC 230.85) | Residential | Panels | 1 200A non-fused disconnect, NEMA 3R, 240V; 10 4/0-4/0-4/0-2/0 SER Aluminum; 2 2" SE cable connector; 1 Emergency disconnect label | coverageCheckStarters.test.ts, starterRetiredRepair.test.ts
CW4 | Apartment unit panel, 125A main-lug | Residential | Panels | 1 125A main-lug panel, 24-space, indoor; 1 Ground bar kit; 12 1/2" NM clamp connector; 1 Panel directory label | coverageCheckStarters.test.ts, starterRetiredRepair.test.ts
CW5 | Overhead door operator connection | Commercial | Equipment Connections | 1 30A non-fused disconnect, NEMA 1, 240V; 6 1/2" flexible metal conduit; 2 1/2" flexible metal conduit connector; 18 #12 THHN solid Copper; 1 4" square box, 1-1/2" deep; 1 4" square blank cover | coverageCheckStarters.test.ts
CW6 | Air compressor connection, 240V | Both | Equipment Connections | 1 30A non-fused disconnect, NEMA 1, 240V; 6 3/4" liquidtight flexible conduit; 2 3/4" liquidtight flexible conduit connector; 18 #10 THHN solid Copper; 1 30A 2-Pole breaker | coverageCheckStarters.test.ts
CW7 | Welder / shop receptacle, 50A (NEMA 6-50) | Both | Devices | 1 4-11/16" square box, 2-1/8" deep; 1 4-11/16" square raised cover, 30A/50A power receptacle; 1 50A 250V receptacle, NEMA 6-50R; 40 6/2 MC cable Copper; 1 50A 2-Pole breaker; 2 3/4" MC connector; 2 MC anti-short bushing | coverageCheckStarters.test.ts
CW8 | Wireless access point drop (ceiling) | Commercial | Low Voltage/EMS | 1 Low-voltage mounting bracket, 1-gang; 150 Cat6 cable Copper; 1 Cat6 jack; 1 Keystone wall plate, 1-port; 3 J-hook, 2" | coverageCheckStarters.test.ts
CW9 | Bollard light | Commercial | Lighting | 1 Bollard light (fixture); 1 Pole anchor bolt kit; 1 Concrete pole base; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts, materialOrder.test.ts, catalogReview20261008.test.ts |  | lighting.ts, starterParts.ts |  |  |  | Name is also a catalog material: code hits may be the material
CW10 | Manual transfer switch, 6–10 circuit | Residential | Panels | 1 30A 6-circuit manual transfer switch (fixture); 1 30A power inlet box; 1 30A generator cord; 25 10/3 NM-B Copper; 2 1/2" NM clamp connector | coverageCheckStarters.test.ts
CW11 | EV-ready conduit stub (EV-capable space) | Both | Equipment Connections | 1 4-11/16" square box, 2-1/8" deep; 1 4-11/16" square blank cover; 10 1" EMT; 2 1" EMT set-screw connector; 1 EV-ready label | coverageCheckStarters.test.ts, starterRetiredRepair.test.ts
CW12 | Multi-unit meter center | Both | Panels | 1 Meter center, 4-position; 2 Ground rod, 5/8" x 8 ft; 2 Ground rod clamp, 5/8", direct burial; 30 #4 bare stranded Copper | coverageCheckStarters.test.ts, catalogReview20261008.test.ts
CW13 | Hospital-grade receptacle (exam / operatory) | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 Hospital-grade receptacle; 1 1-gang wall plate, duplex, nylon; 25 12/2 MC cable healthcare (HCF) Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 1 Grounding pigtail; 3 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts, catalogReview20261008.test.ts
CW14 | 208V kitchen equipment receptacle, 30A (NEMA 6-30) | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square raised cover, single receptacle; 1 30A 250V receptacle, NEMA 6-30R; 40 10/2 MC cable Copper; 1 30A 2-Pole breaker; 2 3/8" MC connector; 2 MC anti-short bushing | coverageCheckStarters.test.ts
CW15 | Recessed clock receptacle | Commercial | Devices | 1 4" square box, 1-1/2" deep; 1 4" square mud ring; 1 Recessed clock receptacle; 25 12/2 MC cable Copper; 2 3/8" MC connector; 2 MC anti-short bushing; 2 Wire nut, 22-8 AWG (tan/red) | coverageCheckStarters.test.ts |  | devices.ts, starterParts.ts | buildPricingSheet.mts |  |  | Name is also a catalog material: code hits may be the material

## How to read this
Built 2026-10-10T19:30:14.329Z by pricing/buildAssemblyCleanup.mts — 224 starter assemblies (the shipped seed, BASELINE_ASSEMBLIES).
Mark Keep or Cut in the yellow column. Leave it blank if undecided. Notes are free text.
Tests / Smoke / Seed / Other code: files that name the starter by its exact quoted name or code. A test that loops over EVERY starter is not listed (it does not depend on any one).
Seed files include baselineKits.ts (starter kits name assemblies) and the hours / overhead / labor-step / cover-swap tables.
Used on STAGING / LIVE: measured on fresh local copies taken 2026-10-10 (staging dump 19:22 UTC, live backup 2026-10-10T19-22-50Z), read only. Counts every row outside the assembly's own recipe that points at it. Blank = nothing uses it.
A Cut never hard-deletes a starter something points at: it is retired (hidden from pickers), so bids keep their numbers.