## Starter assembly hours
STARTER ASSEMBLY HOURS — every starter (183, 1 HELD, 15 NEW since the last version — filter the 'New' column). Your top-30 commercial list first, then the top-30 residential, then the rest. Type YELLOW 'MY HOURS' per assembly (one installed). 'Hours now' is what ships today (blank = not set). Leave blank to keep it. Grey = HELD, leave blank. Send the file back to Track A — do NOT edit hours in the app for this.
# | New | Top-30 list | Residential / Commercial / Both | Ref | Category | Assembly | Hours now | MY HOURS | Notes
1 |  | Commercial #1 | Commercial | LT19 | Lighting | 2x4 LED troffer, lay-in
2 |  | Commercial #2 | Commercial | DV20 | Devices | Duplex receptacle, MC
3 |  | Commercial #3 | Commercial | DR7 | Demo & Retrofit | Troffer LED retrofit kit
4 |  | Commercial #4 | Commercial | DR8 | Demo & Retrofit | 4 ft fluorescent to LED, ballast bypass (2-lamp)
5 |  | Commercial #5 | Commercial | DV26 | Devices | Single-pole switch, MC
6 |  | Commercial #6 | Commercial | LT28 | Lighting | Emergency light / exit combo
7 |  | Commercial #7 | Commercial | LT27 | Lighting | Exit sign
8 |  | Commercial #8 | Commercial | DR3 | Demo & Retrofit | Demo lay-in fixture, make safe above ceiling
9 |  | Commercial #9 | Commercial | MS2 | General | Junction box above lay-in ceiling
10 |  | Commercial #10 | Commercial | DV21 | Devices | GFCI receptacle, MC
11 |  | Commercial #11 | Commercial | LT20 | Lighting | 2x2 LED troffer, lay-in
12 |  | Commercial #12 | Commercial | DV29 | Devices | Wall occupancy sensor, MC
13 |  | Commercial #13 | Both | DR1 | Demo & Retrofit | Demo fixture, blank the box
14 |  | Commercial #14 | Both | DR2 | Demo & Retrofit | Demo device, blank plate
15 |  | Commercial #15 | Commercial | LT22 | Lighting | 4 ft LED strip, surface / suspended
16 |  | Commercial #16 | Commercial | DR5 | Demo & Retrofit | Relocate lay-in troffer (≤6 ft)
17 |  | Commercial #17 | Commercial | DV23 | Devices | Dedicated 20A receptacle, MC
18 |  | Commercial #18 | Commercial | DR15 | Demo & Retrofit | Replace exit / emergency light
19 |  | Commercial #19 | Commercial | LT29 | Lighting | Exterior wall pack
20 |  | Commercial #20 | Commercial | DV30 | Devices | Ceiling occupancy sensor + power pack
21 |  | Commercial #21 | Commercial | DV31 | Devices | 0-10V dimmer, MC
22 |  | Commercial #22 | Commercial | DR4 | Demo & Retrofit | Demo circuit back to panel
23 |  | Commercial #23 | Both | PG7 | Panels | Breaker add, single-pole
24 |  | Commercial #24 | Commercial | MS6 | Low Voltage/EMS | Data drop, Cat6 (commercial)
25 |  | Commercial #25 | Commercial | LT23 | Lighting | 8 ft LED strip (sales floor rows)
26 |  | Commercial #26 | Commercial | DV22 | Devices | Quad receptacle, MC
27 |  | Commercial #27 | Both | DR17 | Demo & Retrofit | Replace receptacle with GFCI
28 |  | Commercial #28 | Commercial | PG13 | Panels | Panelboard 225A 3-phase, main breaker
29 |  | Commercial #29 | Commercial | CS1 | Equipment Connections | Sign circuit and disconnect
30 |  | Commercial #30 | Commercial | MH5 | Equipment Connections | Rooftop unit (RTU) hookup
31 |  | Residential #1 | Both | DV1 | Devices | Duplex receptacle standard | 0.75
32 |  | Residential #2 | Both | DV4 | Devices | Single-pole switch | 0.6
33 |  | Residential #3 | Both | LT7 | Lighting | Wafer LED downlight, 6" (canless)
34 |  | Residential #4 | Both | LT8 | Lighting | Wafer LED downlight, 4" (canless)
35 |  | Residential #5 | Both | DV2 | Devices | GFCI receptacle | 0.9
36 |  | Residential #6 | Both | DV13 | Devices | 3-way switch
37 |  | Residential #7 | Both | DV9 | Devices | AFCI receptacle
38 |  | Residential #8 | Both | LT1 | Lighting | Surface-mount ceiling fixture | 0.6
39 |  | Residential #9 | Both | DV5 | Devices | Dimmer switch | 0.7
40 |  | Residential #10 | Residential | RS9 | Devices | Combination smoke/CO detector
41 |  | Residential #11 | Residential | LT2 | Lighting | Ceiling fan standard | 1.5
42 |  | Residential #12 | Both | DV3 | Devices | Dedicated 20A receptacle | 1.25
43 |  | Residential #13 | Residential | RS7 | Equipment Connections | Bath exhaust fan wiring
44 |  | Residential #14 | Residential | DV8 | Devices | Outdoor GFCI receptacle, in-use cover
45 |  | Residential #15 | Residential | LT12 | Lighting | Vanity light
46 |  | Residential #16 | Residential | LT14 | Lighting | Under-cabinet light
47 |  | Residential #17 | Residential | RS4 | Equipment Connections | Dishwasher connection
48 |  | Residential #18 | Residential | RS5 | Equipment Connections | Garbage disposal, switched
49 |  | Residential #19 | Residential | RS6 | Equipment Connections | Range hood / microwave circuit
50 |  | Residential #20 | Residential | RS1 | Equipment Connections | Range receptacle, 50A
51 |  | Residential #21 | Residential | RS2 | Equipment Connections | Dryer receptacle, 30A
52 |  | Residential #22 | Residential | LT10 | Lighting | Pendant light
53 |  | Residential #23 | Both | MH1 | Equipment Connections | HVAC condenser disconnect + whip
54 |  | Residential #24 | Residential | RS12 | Equipment Connections | EV charger circuit, 48A hardwired
55 |  | Residential #25 | Residential | RS13 | Equipment Connections | EV / RV receptacle, 50A (NEMA 14-50)
56 |  | Residential #26 | Residential | PG3 | Panels | Service upgrade 200A, meter-main outdoor
57 |  | Residential #27 | Residential | PG2 | Panels | Service upgrade 200A, overhead
58 |  | Residential #28 | Residential | RS18 | Panels | Generator inlet and interlock
59 |  | Residential #29 | Residential | PG19 | Panels | Standby generator hookup
60 |  | Residential #30 | Residential | PG9 | Panels | Breaker swap to AFCI/GFCI
61 |  |  | Commercial | DR6 | Demo & Retrofit | Replace troffer like-for-like
62 |  |  | Commercial | DR9 | Demo & Retrofit | 4 ft fluorescent to LED, plug-and-play (2-lamp)
63 |  |  | Commercial | DR10 | Demo & Retrofit | 8 ft fluorescent to LED, single-pin (2-lamp)
64 |  |  | Commercial | DR11 | Demo & Retrofit | 8 ft HO fluorescent to LED (2-lamp)
65 |  |  | Commercial | DR12 | Demo & Retrofit | HID to LED corn lamp
66 |  |  | Commercial | DR13 | Demo & Retrofit | Replace HID high bay with LED high bay
67 |  |  | Commercial | DR14 | Demo & Retrofit | Replace wall pack
68 |  |  | Both | DR16 | Demo & Retrofit | Replace receptacle like-for-like
69 |  |  | Commercial | DR18 | Demo & Retrofit | Replace switch with occupancy sensor
70 |  |  | Commercial | DR19 | Demo & Retrofit | Relocate receptacle (wall move), MC
71 |  |  | Residential | DR20 | Demo & Retrofit | Recessed can LED retrofit (resi)
72 |  |  | Commercial | CS6 | Devices | Twist-lock receptacle, L5-20
73 |  |  | Commercial | CS7 | Devices | Twist-lock receptacle, L6-30
74 |  |  | Commercial | CS8 | Devices | Twist-lock receptacle, L14-30
75 |  |  | Commercial | CS9 | Devices | Tele-power pole
76 |  |  | Commercial | CS10 | Devices | Modular furniture feed
77 |  |  | Both | DV6 | Devices | Duplex receptacle retrofit
78 |  |  | Both | DV7 | Devices | 20A duplex receptacle
79 |  |  | Residential | DV10 | Devices | USB combo receptacle
80 |  |  | Both | DV11 | Devices | Quad receptacle
81 |  |  | Residential | DV12 | Devices | Switch/receptacle combo
82 |  |  | Both | DV14 | Devices | 4-way switch
83 |  |  | Both | DV15 | Devices | 3-way dimmer
84 |  |  | Both | DV16 | Devices | Two switches, one box
85 |  |  | Both | DV17 | Devices | Three switches, one box
86 |  |  | Residential | DV18 | Devices | Fan/light combo control
87 |  |  | Residential | DV19 | Devices | Timer / smart / vacancy switch
88 |  |  | Commercial | DV24 | Devices | Isolated-ground receptacle (cash wrap)
89 |  |  | Commercial | DV25 | Devices | Controlled receptacle (plug load)
90 |  |  | Commercial | DV27 | Devices | 3-way switch, MC
91 |  |  | Commercial | DV28 | Devices | Key switch, MC
92 |  |  | Commercial | DV32 | Devices | Floor receptacle, poke-through
93 |  |  | Commercial | DV33 | Devices | Floor box receptacle (slab)
94 |  |  | Commercial | DV34 | Devices | Surface raceway receptacle (block wall) |  |  | HELD - no 700 plate yet. Not seeded until the catalog has: Surface raceway device plate, 700 series. Leave MY HOURS blank.
95 | NEW |  | Commercial | GC5 | Devices | 120V feed for door hardware / access control
96 | NEW |  | Residential | GR1 | Devices | Single-pole switch, old work
97 | NEW |  | Residential | GR6 | Devices | Kitchen countertop 20A circuit
98 | NEW |  | Residential | GR7 | Devices | Bathroom 20A circuit
99 |  |  | Commercial | CS3 | Equipment Connections | Hand dryer
100 |  |  | Commercial | CS4 | Equipment Connections | Drinking fountain / EWC
101 |  |  | Commercial | CS5 | Equipment Connections | Reach-in cooler / freezer receptacle
102 |  |  | Commercial | CS15 | Equipment Connections | Kitchen hood shunt interface
103 |  |  | Residential | MH2 | Equipment Connections | Furnace / air handler, 120V
104 |  |  | Residential | MH3 | Equipment Connections | Air handler with electric heat, 60A
105 |  |  | Residential | MH4 | Equipment Connections | Mini-split connection
106 |  |  | Commercial | MH6 | Equipment Connections | RTU service receptacle
107 |  |  | Commercial | MH7 | Equipment Connections | Walk-in cooler, condensing unit
108 |  |  | Commercial | MH8 | Equipment Connections | Walk-in cooler, evaporator
109 |  |  | Commercial | MH9 | Equipment Connections | Exhaust fan, commercial
110 |  |  | Commercial | MH10 | Equipment Connections | Motor with starter, 3-phase
111 |  |  | Commercial | MH11 | Equipment Connections | Motor on VFD
112 |  |  | Commercial | MH12 | Equipment Connections | Unit heater
113 |  |  | Residential | MH13 | Equipment Connections | Tankless electric water heater
114 |  |  | Both | MH14 | Equipment Connections | Thermostat low-voltage wiring
115 |  |  | Residential | RS3 | Equipment Connections | Electric water heater connection
116 |  |  | Residential | RS8 | Equipment Connections | Bath fan/light combo, humidity switch
117 |  |  | Residential | RS14 | Equipment Connections | Hot tub / spa connection
118 |  |  | Residential | RS15 | Equipment Connections | Pool pump connection
119 |  |  | Residential | RS16 | Equipment Connections | Well pump connection
120 |  |  | Residential | RS17 | Equipment Connections | Sump pump circuit
121 |  |  | Residential | RS19 | Equipment Connections | Baseboard heater, 240V
122 |  |  | Residential | RS20 | Equipment Connections | Attic fan with thermostat
123 |  |  | Commercial | CS16 | General | Knox box
124 |  |  | Both | MS1 | General | Junction box, 4" square
125 |  |  | Commercial | MS3 | General | Pull box, 12x12
126 |  |  | Both | MS4 | General | Firestop penetration
127 |  |  | Commercial | MS5 | General | Conduit trapeze (strut rack), per hanger
128 |  |  | Residential | MS12 | General | Structured media enclosure (resi)
129 |  |  | Both | MS13 | General | Panel labelling (existing panel)
130 |  |  | Both | MS14 | General | Temporary lighting string, per 100 ft
131 |  |  | Commercial | CS2 | Lighting | Time clock and lighting contactor
132 | NEW |  | Commercial | GC1 | Lighting | Emergency battery pack added to a troffer
133 | NEW |  | Commercial | GC3 | Lighting | Site / parking lot pole light
134 | NEW |  | Commercial | GC4 | Lighting | Emergency light, remote head
135 |  |  | Residential | LT3 | Lighting | Ceiling fan, retrofit brace
136 |  |  | Both | LT4 | Lighting | Recessed can new construction, 6"
137 |  |  | Both | LT5 | Lighting | Recessed can new construction, 4"
138 |  |  | Both | LT6 | Lighting | Recessed can retrofit, 6"
139 |  |  | Residential | LT9 | Lighting | Shower light, wet-rated
140 |  |  | Residential | LT11 | Lighting | Chandelier, heavy bracing
141 |  |  | Residential | LT13 | Lighting | Wall sconce
142 |  |  | Residential | LT15 | Lighting | Exterior porch light
143 |  |  | Both | LT16 | Lighting | Flood / security light
144 |  |  | Residential | LT17 | Lighting | Landscape transformer and circuit
145 |  |  | Residential | LT18 | Lighting | Landscape light, each
146 |  |  | Commercial | LT21 | Lighting | 1x4 LED troffer, lay-in
147 |  |  | Commercial | LT24 | Lighting | 4 ft LED wraparound (back room)
148 |  |  | Commercial | LT25 | Lighting | 4 ft vapor tight (cooler, dock)
149 |  |  | Commercial | LT26 | Lighting | High bay
150 |  |  | Commercial | LT30 | Lighting | Track light, 8 ft with 4 heads
151 | NEW |  | Both | LT31 | Lighting | Wafer LED downlight, 2" (canless)
152 | NEW |  | Both | LT32 | Lighting | Wafer LED downlight, 8" (canless)
153 | NEW |  | Both | LT33 | Lighting | Recessed can retrofit, 4"
154 |  |  | Commercial | CS11 | Low Voltage/EMS | Fire alarm pull station
155 |  |  | Commercial | CS12 | Low Voltage/EMS | Fire alarm horn/strobe
156 |  |  | Commercial | CS13 | Low Voltage/EMS | Fire alarm smoke detector (system)
157 |  |  | Commercial | CS14 | Low Voltage/EMS | Duct smoke detector
158 |  |  | Residential | MS7 | Low Voltage/EMS | Data drop, Cat6 (resi)
159 |  |  | Residential | MS8 | Low Voltage/EMS | Cable TV drop
160 |  |  | Both | MS9 | Low Voltage/EMS | Security camera drop
161 |  |  | Residential | MS10 | Low Voltage/EMS | In-ceiling speaker
162 |  |  | Commercial | MS11 | Low Voltage/EMS | Network patch panel, 24-port
163 |  |  | Residential | RS10 | Low Voltage/EMS | Doorbell, wired
164 |  |  | Residential | RS11 | Low Voltage/EMS | Video doorbell wiring
165 | NEW |  | Commercial | GC2 | Panels | Panelboard replacement, 3-phase, existing feeders
166 | NEW |  | Residential | GR2 | Panels | Service upgrade 200A, underground
167 | NEW |  | Residential | GR3 | Panels | Service 320A / 400A residential (two 200A panels)
168 | NEW |  | Residential | GR4 | Panels | Generator inlet and interlock, 50A
169 | NEW |  | Residential | GR5 | Panels | Detached garage / shop feeder and panel
170 |  |  | Both | PG1 | Panels | 200A main panel furnish and install | 8
171 |  |  | Both | PG4 | Panels | Panel replacement like-for-like, 200A
172 |  |  | Residential | PG5 | Panels | Subpanel, 100A (resi, 60A feed)
173 |  |  | Both | PG6 | Panels | Load center relocate
174 |  |  | Both | PG8 | Panels | Breaker add, 2-pole
175 |  |  | Residential | PG10 | Panels | Whole-house surge protector
176 |  |  | Both | PG11 | Panels | Grounding electrode system
177 |  |  | Commercial | PG12 | Panels | Panelboard 225A 3-phase, main-lug
178 |  |  | Commercial | PG14 | Panels | Panelboard 400A 3-phase, main breaker
179 |  |  | Commercial | PG15 | Panels | Feeder breaker, 3-pole
180 |  |  | Commercial | PG16 | Panels | Dry-type transformer, 45 kVA
181 |  |  | Both | PG17 | Panels | Safety switch, 100A fused
182 |  |  | Commercial | PG18 | Panels | Building surge protective device
183 |  |  | Both | PG20 | Panels | Temporary power pole

## How to use
What this is | Labor hours for each starter assembly EVERY shop starts with — one installed, at the role the assembly is set to.
What you type | MY HOURS (yellow). Blank keeps 'Hours now' (blank there means not set). Never 0 for unknown.
Order | Your top-30 commercial list, then the top-30 residential list (references/top-assemblies-draft.md), then every other starter by category.
New | 15 rows say NEW: starters added since the version this was compared with (ah-previous.xlsx). Filter the 'New' column to see only them.
HELD | DV34 Surface raceway receptacle (block wall) — grey, and refuses input. It is listed so the sheet is complete, but it is not seeded yet; leave it blank. See its Notes.
Not in this sheet | Nothing — every listed starter ships.
What happens next | Send the file to Track A; it is checked row by row and written into the seed. Shipped hours carry an "Example hours" tag; nothing ships before that tag exists in the app.